## Slide 1
ECG MODEL COMPARISON
Stanford 1D-ResNet vs ECGFounder
Architecture, design philosophy, and a MIT-BIH head-to-head
Stanford 1D-ResNet
Hannun-Rajpurkar-Ng, Nature Medicine 2019
Task-specific net, trained from scratch
Keras / TensorFlow
Continuous ambulatory rhythm strips
Few classes, one rhythm per segment
ECGFounder
Foundation model, pretrained on millions of ECGs
Pretrained backbone, then fine-tuned
PyTorch (Net1D, ~30.8M params)
Per-window multi-label diagnosis
150 classes, co-occurring diagnoses

## Slide 2
BOTH ARE 1D RESNETS, WIRED DIFFERENTLY
Architecture
Stanford - sequence to sequence
Single lead, z-scored, multiple of 256 samples
Stem Conv1D(16), then 16 residual blocks (2 convs)
Filters 32->64->128->256; 256x downsample
TimeDistributed Dense -> softmax
One label per ~1.3 s segment
ECGFounder - sequence to one
Single lead, fixed 10 s @ 500 Hz (1x5000)
Net1D conv stages (deeper / wider)
Global pooling -> 1024-dim feature
Linear(1024,150) -> sigmoid
One multi-label vector per record
Dimension | Stanford 1D-ResNet | ECGFounder
Output | Sequence: 1 label / ~1.3 s | 1 global vector / record
Label type | Softmax (one class/segment) | Sigmoid (multi-label)
Classes | Few (4 - ~12) | 150 diagnoses
Training | From scratch, per dataset | Pretrained foundation + fine-tune
Input | variable len, 200-360 Hz | fixed 10 s @ 500 Hz
Best fit | Continuous Holter / patch | Per-window multi-diagnosis
Cross-dataset labels | per-dataset; retrain or hand-map | fixed 150-space; central map

## Slide 3
BOTH RUN ON MIT-BIH, IN DIFFERENT SETTINGS
Head-to-head: MIT-BIH
Stanford 1D-ResNet
~1.00
accuracy on dev_split
SINUS F1 1.00 (n=1597)
BIGEMINY F1 0.96 (n=41)
TRAINED ON MIT-BIH (in-distribution)
ECGFounder (zero-shot)
0.95
AFib ROC 0.95 / F1 0.86
PVC ROC 0.94 / F1 0.72
NSR ROC 0.84 / F1 0.78
NEVER trained on MIT-BIH (transfer)
Not 'Stanford beats ECGFounder'
Stanford was trained ON MIT-BIH, so ~100% on a held-out split of the same (97% SINUS) dataset is in-distribution fit. ECGFounder's numbers are zero-shot transfer to an unseen dataset. Label spaces (4 exclusive vs 150 multi-label) and granularity (per-segment vs per-record) also differ.
Use ECGFounder for broad multi-label diagnosis (150 conditions) and transfer to new datasets/devices.
Use Stanford for per-segment rhythm labels on a continuous strip when you can train on your distribution.
Complementary, not competing.