## Slide 1
ECG MODEL COMPARISON
Stanford 1D-ResNet vs ECGFounder
Architecture, design philosophy, and a MIT-BIH head-to-head
Stanford = task-specific 1D ResNet (Nature Medicine 2019) | ECGFounder = pretrained foundation model

## Slide 2
TWO DIFFERENT PHILOSOPHIES
What each model is
Stanford 1D-ResNet
Hannun-Rajpurkar-Ng, Nature Medicine 2019
Task-specific net, trained from scratch
Keras / TensorFlow
Continuous ambulatory rhythm strips
Few classes, one rhythm per segment
ECGFounder
Foundation model, pretrained on millions of ECGs
Pretrained backbone, then fine-tuned
PyTorch (Net1D, ~30.8M params)
Per-window multi-label diagnosis
150 classes, co-occurring diagnoses

## Slide 3
BOTH ARE 1D RESNETS, WIRED DIFFERENTLY
Architecture
Stanford - sequence to sequence
Input: single lead, z-scored, multiple of 256 samples
Stem Conv1D(16) -> BN -> ReLU
16 residual blocks, 2 convs each (pre-act BN->ReLU->Drop 0.2)
Filters 32->64->128->256; strides 1,2,1,2... (256x down)
Output: TimeDistributed Dense -> softmax
One label per ~1.3 s segment
ECGFounder - sequence to one
Input: single lead, fixed 10 s @ 500 Hz (1x5000)
Net1D conv stages (deeper / wider)
Global pooling -> 1024-dim feature
Linear(1024, 150) -> sigmoid
Output: 150 independent probabilities
One multi-label vector per record

## Slide 4
THE DIFFERENCES THAT MATTER
Side-by-side
Dimension | Stanford 1D-ResNet | ECGFounder
Output | Sequence: 1 label / ~1.3 s | 1 global vector / record
Label type | Softmax (one class/segment) | Sigmoid (multi-label)
Classes | Few (4 - ~12) | 150 diagnoses
Training | From scratch, per dataset | Pretrained foundation + fine-tune
Input | variable len, 200-360 Hz | fixed 10 s @ 500 Hz
Best fit | Continuous Holter / patch | Per-window multi-diagnosis
Cross-dataset labels | per-dataset; retrain or hand-map | fixed 150-space; central map

## Slide 5
NO SHARED ONTOLOGY VS ONE FIXED VOCABULARY
Label handling across databases
Stanford - no global label space
Each checkpoint's classes auto-derived from its training data
cinc17 -> A / N / O / ~ mitdb -> SINUS / BIGEMINY / TRIGEMINY / VT
New database = RETRAIN (new checkpoint) OR HAND-MAP
Hand-map = per-script LABEL_MAP dict, lossy, not centralized
No reusable, enforced cross-dataset mapping
ECGFounder - one fixed vocabulary
One fixed 150-label space, pinned once (tasks.txt)
Every dataset mapped INTO that space, not the reverse
Centralized label_config + GLOBAL_LABEL_MAP.md (single source)
Import-time enforced - fails to load on drift
New database = a mapping entry, backbone untouched
Takeaway: Stanford ties one model to one dataset's labels (retrain or hand-map per DB); ECGFounder's fixed vocabulary + centralized mapping is the foundation-model advantage for multi-dataset work.

## Slide 6
BOTH RUN ON MIT-BIH, IN DIFFERENT SETTINGS
Head-to-head: MIT-BIH
Stanford 1D-ResNet
~1.00
accuracy on dev_split
SINUS F1 1.00 (n=1597)
BIGEMINY F1 0.96 (n=41)
TRAINED ON MIT-BIH (in-distribution)
ECGFounder (zero-shot)
0.95
AFib ROC 0.95 / F1 0.86
PVC ROC 0.94 / F1 0.72
NSR ROC 0.84 / F1 0.78
NEVER trained on MIT-BIH (transfer)
Not 'Stanford beats ECGFounder'
Stanford was trained ON MIT-BIH, so ~100% on a held-out split of the same (97% SINUS) dataset is in-distribution fit. ECGFounder's numbers are zero-shot transfer to an unseen dataset. Label spaces (4 exclusive vs 150 multi-label) and granularity (per-segment vs per-record) also differ.

## Slide 7
VERDICT
When to use which
Use ECGFounder when...
Broad multi-label diagnosis (150 conditions)
Transfer to new datasets / devices
No per-dataset training available
Use Stanford when...
Per-segment rhythm labels on a continuous strip
You can train on your target distribution
A small single-label rhythm set is enough
Complementary, not competing - Stanford = continuous single-rhythm timing (in-distribution); ECGFounder = broad multi-label diagnosis with transfer.
Full write-up: docs/STANFORD_VS_ECGFOUNDER.md