## Slide 1
ECG MODEL COMPARISON
Stanford 1D-ResNet vs ECGFounder
Architecture, design philosophy, and a MIT-BIH head-to-head
Stanford = task-specific 1D ResNet (Nature Medicine 2019) | ECGFounder = pretrained foundation model

## Slide 2
TWO DIFFERENT PHILOSOPHIES
What each model is
Stanford 1D-ResNet
Hannun · Rajpurkar · Ng — Nature Medicine 2019
Task-specific net, trained FROM SCRATCH per dataset
Keras / TensorFlow (here ported to Keras 3)
Built for continuous ambulatory rhythm strips (Zio patch)
Few classes, one rhythm per segment
ECGFounder
Foundation model — pretrained on millions of ECGs
Pretrained backbone, then fine-tuned / probed
PyTorch (Net1D, ~30.8M params)
Built for per-window multi-label diagnosis
150 classes, co-occurring diagnoses

## Slide 3
BOTH ARE 1D RESNETS — BUT WIRED DIFFERENTLY
Architecture
Stanford — sequence-to-sequence
Input: single lead, z-scored, multiple of 256 samples
Stem Conv1D(16) → BN → ReLU
16 residual blocks, 2 convs each (pre-act BN→ReLU→Drop 0.2)
Filters 32→64→128→256; strides 1,2,1,2… (256× down)
Output: TimeDistributed Dense → SOFTMAX
→ one label per ~1.3 s segment
ECGFounder — sequence-to-one
Input: single lead, fixed 10 s @ 500 Hz (1×5000)
Net1D conv stages (deeper / wider)
Global pooling → 1024-dim feature
Linear(1024, 150) → SIGMOID
Output: 150 independent probabilities
→ one multi-label vector per record

## Slide 4
THE DIFFERENCES THAT MATTER
Side-by-side
Dimension | Stanford 1D-ResNet | ECGFounder
Output granularity | Sequence — 1 label / ~1.3 s | 1 global vector / record
Label type | Softmax (mutually exclusive) | Sigmoid (multi-label)
# classes | Few (4 – ~12) | 150 diagnoses
Training | From scratch, per dataset | Pretrained foundation + fine-tune
Feature width | caps at 256 channels | 1024-dim (~30.8M params)
Input | variable len, 200/300/360 Hz | fixed 10 s @ 500 Hz
Best fit | Continuous Holter / patch | Per-window multi-diagnosis

## Slide 5
BOTH RUN ON MIT-BIH — IN DIFFERENT SETTINGS
Head-to-head: MIT-BIH
Stanford 1D-ResNet
~1.00
accuracy on dev_split
SINUS F1 1.00 (n=1597)
BIGEMINY F1 0.96 (n=41)
TRAINED ON MIT-BIH — in-distribution
ECGFounder (single-lead)
0.95
AFib ROC 0.95 / F1 0.86
PVC ROC 0.94 / F1 0.72
NSR ROC 0.84 / F1 0.78
NEVER trained on MIT-BIH — zero-shot
⚠ This is NOT “Stanford beats ECGFounder.”
Stanford was trained ON MIT-BIH, so ~100% on a held-out split of the same (97% SINUS) dataset is in-distribution fit.
ECGFounder's numbers are zero-shot transfer to an unseen dataset. Different questions: fit-this-dataset vs transfer-to-unseen.
Label spaces also differ (4 exclusive rhythms vs 150 multi-label) and so does output granularity (per-segment vs per-record).

## Slide 6
WHEN TO USE WHICH
Verdict
Use ECGFounder when…
You need broad multi-label diagnosis (150 conditions)
You want to transfer to new datasets / devices
No per-dataset training is available
Use Stanford when…
You need per-segment rhythm labels on a continuous strip
You can train on your target distribution
A small, single-label rhythm set is enough
Complementary, not competing — Stanford = continuous single-rhythm timing (in-distribution); ECGFounder = broad multi-label diagnosis with transfer.
Full write-up: docs/STANFORD_VS_ECGFOUNDER.md